## PRICED BOQ
ARCHITECT : D -SIGN K STUDIO
PROJECT : PROPOSED RESIDENCE BUILDING AT NEMILICHERRY , CHENNAI
General Builder's work
S.No | DESCRIPTION OF WORK | QTY | RATE | UNIT | AMOUNT
I | Earthwork
1 | Mass Earth work excavation by mechanical means in all kinds soil including soft, weathered and loose disintegrated rock (excluding hard rock) by JCB / Poclaine, including preparing bed of excavation to the required depth, level, graded camber as directed by the Engineer-in-Charge, carting away / stacking the earth as directed including all men, materials and machineries, including cost of dozing, shoring and dewatering etc., complete as directed by the Engineer -in- Charge. | 4900 |  | Cft | 0
2 | Supplying and filling of spreading of river sand of approved quality in layers of 150mm thick including cost of sand, transportation for all leads, loading, unloading, spreading in layers at all depths, watering compacting to 90% max dry density as directed. | 880 |  | Cft | 0
3 | Supplying and filling of Pit sand of approved quality in layers of 300mm thick including cost of pit sand, transportation for all leads, loading, unloading, spreading in layers at all depths, watering compacting to 90% max dry density as directed. | 4250 |  | Cft | 0
| Sub total |  |  |  | 0
II | Cement concrete
1 | Providing and laying Plain cement Concrete 1 : 4 : 8 (one part of cement, four part of sand and eight parts of good approved 40mm HBG jelly), well mixed and placed in position and consolidated by rammer. The sides and bottom of excavation should have been well rammed with water before laying of concrete. The top of concrete to be made to even level without adding any mortar.
| In Foundation, basement and flooring | 880 |  | Cft | 0 | 0 | 0
| Sub total |  |  |  | 0
III | RCC works
1 | Providing and laying in position of concrete using 12mm to 20mm graded metal and good river sand and OPC cement 43 grade resistance cement as approved by the Architects, including formwork, all leads and lifts, scaffolding wherever required, its removal after the period of setting of concrete, curing but excluding cost of steel reinforcement placed in posiion (paid for separately) all as per the drawings / specification etc all complete. Cement - Ultrateck
RCC M25 Grade
a | in columns in footings | 605 |  | Cft | 0
b | in columns F.B | 135 |  | Cft | 0
c | in columns in super structure G.F | 155 |  | Cft | 0
d | in columns in super structure F.F | 155 |  | Cft | 0
e | in columns in super structure S.F | 90 |  | Cft | 0
f | in columns in super structure Terrace floor | 50 |  | Cft | 0
RCC M20 Grade
a | In plinth beam | 300 |  | Cft | 0
b | In tie beam | 115 |  | Cft | 0
b | in Slabs in G.F | 585 |  | Cft | 0
| in Slabs in F.F | 585 |  | Cft | 0
| in Slab terrace floor | 140 |  | Cft | 0
c | in Beams G.F | 210 |  | Cft | 0
| in Beams F.F | 210 |  | Cft | 0
| in Beams S.F | 60 |  | Cft | 0
| in Beams Terrace floor | 115 |  | Cft | 0
d | In lintels | 290 |  | Cft | 0
e | Sun shade & Sill slab | 285 |  | Sq.ft | 0
f | Staircase slab | 150 |  | Cft | 0
g | Pergola beam | 100 |  | Sq.ft | 0
| sub total |  |  |  | 0
IV | Steel and its fabrication
1 | Providing,cutting, bending and tying in position including straightening, Tor Steel deformed bars of Grade Fe-415 for steel reinforcement in R.C.C works, including cost of two strands of 18 SWG GI binding wire etc. complete. The rate to be quoted is for finished item of works. | 11.5 |  | MT | 0
| sub total |  |  |  | 0
V | Brickwork
1 | Providing and laying brickwork with First quality stock bricks of designation 50 in cement mortar 1:5 (1 cement : 5 coarse sand) in superstructure at all heights (9" thickness without plastering). The rate to be quoted will include cost of scaffolding, racking the joints to make key for plastering, instantaneous curing for a period of not less than 21 days and the rate to include all tools and plants, materials all required for first quality work etc. complete in all floors. Cement - Zuari , Coromandel
a | In Basement | 540 |  | Cft | 0
b | In super structure
| In Ground floor | 885 |  | Cft | 0
| In First floor | 980 |  | Cft | 0
| In Second floor | 705 |  | Cft | 0
| In terrace floor | 375 |  | Cft | 0
115mm brickwork in CM 1:4
Brcikwork115mm wide in Cement Mortor 1 : 4 (One part of Cement and Four parts of good Granular River Sand free from foreign impurites) with 2 Nos. 6mm M.S Rods at every fifth layer including all leads and lifts etc. complete. The rate to include necessary scaffolding curing, raking the joints to form key to receive plastering all as directed at site.
| In super structure in Ground floor | 665 |  | Sq.ft | 0
| In super structure in First floor | 800 |  | Sq.ft | 0
e | Steps brick work with C.M.1:3 | 50 |  | cft | 0
| sub total |  |  |  | 0
VI | Plastering
1 | Prepare surface and plaster the inner surfaces of walls, R.C.C surfaces contigeious to masonry with cement mortar 1 : 5, 12mm thick using good river sand, including patch plaster etc. The rate to include apart from the above the cost of providing chicken mesh at RCC / Brick work junctions and over electrical conduits, scaffolding, curing, tools and plants etc.complete in all floors. | 6900 |  | Sq.ft | 0
2 | Prepare surface and plaster the external surfaces of walls, R.C.C surfaces contigeious to masonry with cement mortar 1 : 5, 12mm thick using good river sand, including patch plaster etc. The rate to include apart from the above the cost of scaffolding, curing, tools and plants etc.complete in all floors. | 6500 |  | Sq.ft | 0
3 | Plastering the sides and soffits of slabs and beams with cement mortar 1:4, 12mm thick using good screened river sand incluing providing patch plaster etc. The rate to include apart from above the cost of all scaffolding, curing. Wetting the walls before proceeding with the plastering etc. complete in all floors. | 3770 |  | Sq.ft | 0
4 | Providing and laying water proofing over the R.C.C floor with Cement Mortor 1:3 of 20mm thick premixed with water proofing chemicals such as conbex 100 of FOSROC chemicals cera proof I.W.P. powder / cera proof I.W.D liquid conforming to I.S 2645 of 1975 and reaffirmed in 1992 the chemical mixed integraly with cement in dry form before being mixed with water and the modified mortor is applied on the slab prepared already including roughering of slab to receive the polymer intergral modified cement mortor. | 330 |  | Sq.ft | 0
| Sub total |  |  |  | 0
VII | Flooring
Note : All flooring materials size, colour and shade are approved by Architects before procurement in site.
1 | Providing and laying Vitrified Tiles of size 600mm x 600mm with Cement Mortor 1 : 4 using one part of Cement and four parts of river sand, joints are mitrated, the quality of stones should be approved by the Engineer incharge of the work. The Basic cost of Vitrified tiles will be Rs. 90/-. The rate to include the cost of all leads, lifts, wastages, tools and plants, curing, transport, Taxes, etc complete as directed by the Architects and the floor has to be proctecd and covered with clear plastic sheet with POP of 6mm-8mm thickness. Tile make - Anuj In all Floor | 1790 |  | Sq.ft | 0
2 | Providing and fixing vitrified tiles100mm high of approved quality in skirting in CM 1:4, with thin joints so as to form a true and even surface and joints finished neatly with mixed with matching pigments all complete as directed.(Basic cost of tiles will be Rs.90/- per sq.ft) In all Floor | 490 |  | Rft | 0
3 | Providing and laying Anti-skid Ceramic flooring with 300mm x 300mm tiles of approved colour and shade and approved make like Johnson / Kajaria / Asian in cement mortar 1 : 3 - 20mm thick including pointing the joints with white cement, cleaning with Acid with all lead, lifts etc., in all floors. The sample tiles has to be approved by the Architect for make, colour and shade. Basic cost of tile will be Rs.70/- Sft | 250 |  | Sq.ft | 0
4 | Providing and dadoing to walls with colour glazed tiles of size 600mm x 300mm with Cement Mortor 1 : 3 with motif tile at required two levels and the joints are pointed out with white cement neatly etc. complete . The shade and make of the tiles are to be approved by the Architects (Johnson / Kajaria / Asian/ Nitco or equivalent make) in all floors. Basic cost of tile will be Rs. 60 /Sft | 1100 |  | Sq.ft | 0
5 | Providing and laying Pressed concrete tiles (Eurocon or equivalent) of approved quality in CM 1:4, with thin joints so as to form a true and even surface and joints finished neatly with mixed with matching pigments all complete as directed.The shade and make of the tiles are to be approved by the Architects.(Basic cost of tiles Rs.60/- per sq.ft) | 950 |  | Sq.ft | 0
6 | Providing and fixing ceraplank with frame work & screws of approved quality, size and colour in wall elevation etc., all complete as directed. The shade and make of the ceraplank are to be approved by the Architects. (Basic cost of tiles Rs.70/- per sq.ft) | 360 |  | Sq.ft | 0
7 | Providing and laying G20 Granite of 20mm thickness with nosing over a bed of Cement Mortor 1 : 4 using one part of Cement and four parts of good granular river sand, joints are mitrated, the quality of stones should be approved by the Engineer incharge of the work. The Basic cost of Jet Black Granite slab shall not be less than Rs. 120/Sq.ft The rate to include the cost of all leads, lifts, wastages, tools and plants, curing, transport, Taxes, necessary bull nosing etc complete as directed by the Architects. In Ground floor. | 140 |  | Sq.ft | 0
| sub total |  |  |  | 0
VIII | Carpentry and Joinery
1 | MAIN DOOR - Panelled
Supplying and fixing main door of over all size 3'6" x 7' 0" comprising of main door Burma teak wood / Teak wood II Category frame of size 150mm x 75mm on four sides and shutter will be 38mm first class teakwood shutter. The first class teakwood will mean teakwood member without any sapwood and without any dead knots however live knots not up to 25mm may be considered at the discussion of the Architects.
The rate will also include 6 nos of hold fast 200 x 100 x 6mm to be fixed to the adjoining rcc members / brickworks including chippping of pockets and grouting the same with M25 concrete all as directed by the Architect.
All the fixtures like handle, lock, hinges, etc will be supplied by client. All fixing fixtures will be be done by the contractor, as required for a first class workmanship.
The edges and faces (front & rear) of the teakwood shutter and frame will be polished with three coats of clear melamine polish. The selection of the hardwares stated above will be purely at the description of the Architect/Client.
i | GF - Main Door of size 3'3" x 7'0" - Burma teak wood | 46 |  | Sft | 0
2 | Solid moulded Door
Supplying and fixing of doors of comprising of Second quality Paduak wood frame of size 100mm x 75mm on three sides and shutter will be Flush door shutter.
The rate will also include 6 nos of hold fast 200 x 100 x 6mm to be fixed to the adjoining rcc members / brickworks including chippping of pockets and grouting the same with M25 concrete all as directed by the Architect.
All the fixtures like handle, lock, hinges, etc will be supplied & fixing will be be done by the contractor, as required for a first class workmanship.
Fixing flush doors Confirming to relevant IS Standard with flush shutter 32mm thick with teakwood lipping and manufactured in an approved workshop such as kutty's / Diamond or other workshops approved by the Architect / Client. The Flush Door will be resin bonded and formaldyhyde, treated chemically against dampness, termite and other fungus. The flush shutter to be finished with Syntheic Enamel Paint the Colour, Pattern, Etc will selected by Architects / Client. The rate to include cost of fixing completely as directed by the Architects / Client. All the Fixtures like Hinges, Lock, Handle, shall be supplied by client.
| Ground , First, & Second floor | 280 |  | Sft | 0
3 | Wooden Glazed Windows & Ventilators
Providing and fixing sesoned Second quality paduk wood glazed shutters with 75 x 35mm paduk wood styles alround using plain saint gobain glass panes of 4mm thk including SS hinges, handles with necessary screws at top and bottom as directed etc complete as directed.
| Ground , First, & Head room. | 320 |  | Sft | 0
| Sub total |  |  |  | 0
IX | Painting
1 | Preparing the surface and applying Birla Putty or equivalent make approved by Architect with 2 or more coats of Acrylic Emulsion for all internal walls over one coat of primer of approved quality, make (Asian) or equivalent approved by the Architect etc. to get even shade for all internal walls including necessary scaffolding etc complete as directed by Engineer - in - charge. The surface shall be true to plumb after painting. | 6900 |  | Sft | 0
2 | Preparing the surface and applying 2 coats of ACE exterior Emulsion Paint for all Outside Plastered area over one coat of primer of approved quality, make etc. to get even shade for all walls including necessary scaffolding in all floors complete as directed by Engineer - in - charge. The surface shall be true to plumb after painting. | 6500 |  | Sft | 0
3 | Prepare surfaces and apply two or more coats of white wash to ceiling, sides and soffit of beams etc. at all levels. | 3770 |  | Sft | 0
| Sub total |  |  |  | 0
X | Roofing
1 | Providing and laying brick jelly lime concrete comprising of one part of lime to 2.5 parts of brick jelly well mixed and laid to slope and gradients including shampering the brick jelly concrete at the mouth of Rain Water pipes, the brick jelly lime concrete well beaten with wood knives after pouring a mixture of koddukai and jaggery well dissolved in water atleast for 72 hours so as to make the top surface of concrete smooth to receive roof tiles over the roof of first floor. The work will be carried out strictly as directed by the Engineer incharge of the work. | 1050 |  | Cft | 0
2 | Prepare surface and lay one layer of west coast pressed tiles of approved brand and make over a bed of Cement Mortar 1 : 3 around 20mm thick with water proof compound of approved quality at the rate of 2% of weight of cement. The tiles are to be well set in cement mortar by gently taping on the tiles till such time the slurry comes out, including wiping the excess slurry by cloth and flush pointing the joints with Cement Mortar 1 : 3 etc complete as directed by the Engineer incharge of the work. | 1585 |  | Sq.ft | 0
3 | Providing and laying Brick Jelly Cement Concrete 1 : 4 : 8 (One part of Cement : Four part of river sand : Eight parts of broken brick jelly of 40mm size) free from dust and powder in sunken portions of toilets all as directed by the Architects and drawings etc. complete. | 145 |  | Cft | 0
| Sub total |  |  |  | 0
XI | Miscellaneous
1 | Providing pre construction anti-termite treatment comprising first operation in foundation (bottom and sides of trenches) second operation below floors level and third operation all round the building at ground level ( area of building at ground level will be measured for payment) including guarantee for ten years from the final date of operation as per I.S.Code 6313(part II) - 1981.(End of the work guarantee should be handed over to the client ). | 1850 |  | Sq.ft | 0
2 | Providing and fixing Grill For windows of all sizes as shown in the drawing. The Grill to be fixed adjoining Walls and to be filled with M20 RCC Concrete or inserte to the window frames (as the case may be), The rate to include cost of one coat of zing chromate all leads and lifts etc complete as directed by Architects Engineer at site. Design and pattern as shown in the drawing or complete as directed by Architects Engineer at site | 1250 |  | Kgs | 0
3 | Providing and Fixing of MS pipe Railing made out of dia 50x1.5mm thick MS pipe as top rail, 25x25 mm MS Square bar as Vertical height of 1000mm spacing at 1150m c/c, etc all as per your design and drawing with redoxide coating and over powder coating . | 60 |  | Rft | 0
4 | Providing and Fixing of MS rectangular box section made out of 75x38mm as per architectural drawing etc all complete with redoxide coating and over powder coating . | 800 |  | Kgs | 0
| Sub total |  |  |  | 0
| Total civil work |  |  |  | 0
XII | Electrical work in cluding 3phase supply 9% (Total civil work )
| Electrical Conduiting ,wiring, Switches cum sockets and cabling, D.B.Panels, MCB etc.,all complete |  |  |  | 0
XIII | Plumbing work ( Tota civil work 5%)
| Plumbing work like sanitary fitting & c.p.fitting, Kitchen sink,pipe line work,rain water harvesting, Pumps and external plumbing work etc.,all complete |  |  |  | 0
| Grand total |  |  |  | 0
Note : -
XIV | The following items not included in the estimate that is addl. Items
1 | UG Sump - 15000 liter capacity - Excavation,PCC,RCC & Water proofing work , rungs & manhole cover etc., all complete. | 15000 |  | Lit | 0
2 | Water tank - 4000 liter capacity - RCC , Brick work & water proof plastering work , manhole cover etc., all complete. | 4000 |  | Lit | 0
3 | Septick tank - 5000 liter capacity - RCC , Brick work & water proof plastering work , manhole cover etc., all complete. | 5000 |  | Lit | 0
4 | Compound wall work up to 7'0" Height from the FGL as per architect drawing including all civil work and MS Gate for entrance etc., all complete | 162 |  | Rft | 0
5 | Supplying and fixing entrance compound wall gate as per architectural drawing etc., all complete | 2 |  | Ls | 0
6 | External paving block (Approxmate area) - including base pit sand filling -0'9" and snad filling 6" thk etc., all complete | 275 |  | Sq.ft | 0
| Addl item costing |  |  |  | 0
0
0
0

## Boq Abstract
PROJECT : PROPOSED RESIDENCE BUILDING AT NEMILICHERRY , CHENNAI
ABSTRACT
Sl.no | Description of work | Total Value
I | Earth work | 0
II | P.C.C work | 0
III | R.C.C. work | 0
IV | Steel & fabrication | 0
V | Brick work | 0
VI | Plastering | 0
VII | Flooring | 0
VIII | Carpentry | 0
IX | Painting | 0
X | Roofing | 0
XI | Miscellaneous | 0
| Total civil work | 0
XII | Electrical work ( Tota civil work 9%) | 0
XIII | Plumbing work ( Tota civil work 5%) | 0
| Grand total | 0
XIV | Addl works | 0